## Slide 1
Collimator
Magnet
Detector
Lead
Dump
Step 1 (fit up tests until beam setup begins ...)
X-ray
Lead
Dump
Step 2 (find/center e-beam w/ collimator removed)
Collimator
Dump
Step 3 (center e-beam to maximize x-rays thru collimator)
X-ray
Lead
Collimator
Magnet
Detector
Lead
Dump
Step 4 (install, cable, align magnet & detector)
Collimator
Magnet
Detector
Lead
Dump
Step 5 (stack lead hut, start the experiment)
Beam setup begins…