## Slide 1: Energy Calibration of the NPS Calorimeter
Jacob Murphy
Graduate Student with Julie Roche
Ohio University

## Slide 2: NPS Calorimeter Calibration Method As done before with DVCS in Hall A
HMS
NPS
e
e’
DVCS
HMS
NPS
e
Elastic
HMS will require polarity change
Calorimeter will need to be moved back
p’

## Slide 3: NPS Elastic Kinematics
PAC 40 DVCS and π0 kinematics for Hall C
Calorimeter angles : 6⁰ - 23⁰ and 23⁰ - 57.30⁰
HMS Momentum: 0.5 GeV/c – 7.5 GeV/c (Larger than 7.5 GeV/c)
HMS Magnet Saturation at: 5 GeV/c (Larger than 5 GeV/c)
Calorimeter distance: 3m – 11m
HMS - NPS angle larger than 23.5⁰
Out-going photon used to represent elastic electron energy, while keeping the same beam energy

## Slide 4: Elastic Kinematic Simulation
Using proposed kinematics on previous page:
  Beam energy fixed
  Electron kinematic is uniformly generated about a region centered on the Calo angle in kinematic
    Solid angle chosen to be slightly larger than accepted angle of calorimeter
  Vertex is uniformly generated from -0.05 to 0.05 m
  Proton is calculated from k and theta e
1 million events generated for a given calorimeter distance and kinematic

## Slide 5
Kinematic 16
Calo-target distance 6m
Electron side
Proton side
Hits on Detector Faces
Particle Angles
Notes: Explain Plots and layouts
Vertical coverage
Adjust angle of a detector to reach horizontal

## Slide 6: 3m 6m 9m 11m
Electron side
Proton side
Kinematic 16
Notes: Same kinematic, different distances
Only faces of detectors
Note change in horizontal coverage
That at 6m every kinematic, full vertical coverage
Not all kinematic allow us to calibrate calo in one-shot

## Slide 7
Notes: Add to table from slide 3
For 6m and 11m
Rate for 1 microamp beam per block
Same for whole calo
Time for 1000 events per block
% calo covered (NAB/NAC
Conclusion : are kinematics and distances where we can cover whole calo (not surprising given distance of 11m back)

## Slide 8: Thank You!

## Slide 9: Extra Slides

## Slide 10: Distance Calo = 6m

## Slide 11: Kinematic 0

## Slide 12: Kinematic 3

## Slide 13: Kinematic 4

## Slide 14: Kinematic 12

## Slide 15: Kinematic 13

## Slide 16: Kinematic 15

## Slide 17: Kinematic 16

## Slide 18: Kinematic 17

## Slide 19: Kinematic 18

## Slide 20: Distance Calo = 11m

## Slide 21: Kinematic 0

## Slide 22: Kinematic 3

## Slide 23: Kinematic 4

## Slide 24: Kinematic 12

## Slide 25: Kinematic 13

## Slide 26: Kinematic 15

## Slide 27: Kinematic 16

## Slide 28: Kinematic 17

## Slide 29: Kinematic 18