## Slide 1: NPS DAQ equipment update
October 18th 2018

## Slide 2: VTP
VTP readout
  VME backplane limited to 100 MB/s
  Development of parallel readout of FADC through serial link = 16x 125 MB/s
  good option for cluster readout ( read all FADC and only transfer clusters )
  Development of streaming option
  Would be safer to have VTP readout of FADC for NPS in case we need to record full waveform and have higher than expected trigger rate

## Slide 3: Cost estimates total
 | Number needed | Unit price K$ |  |  | 
FADC | 70 | 4 | 280 |  | 
VXS | 5 | 15 | 75 |  | 
SD | 5 | 4 | 20 |  | 
TI | 5 | 4 | 20 |  | 
CPU | 5 | 4 | 20 |  | 
VTP | 5 | 7 | 35 |  | 
 |  | Total | 450 | No FADC cost | 170

## Slide 4: Cost estimates total reuse SHMS
 | Number needed | Unit price K$ |  |  | 
FADC | 43 | 4 | 172 |  | 
VXS | 3 | 15 | 45 |  | 
SD | 3 | 4 | 12 |  | 
TI | 3 | 4 | 12 |  | 
CPU | 3 | 4 | 12 |  | 
VTP | 5 | 7 | 35 |  | 
 |  |  | 288 | No FADC cost | 116
 |  |  |  | No trigger | 81

## Slide 5: Updated remaining costs
 | Number needed | Unit price K$ |  |  | 
FADC | 41 | 4 | 164 |  | 
VXS | 2 | 15 | 30 |  | 
SD | 3 | 4 | 12 |  | 
TI | 3 | 4 | 12 |  | 
CPU | 3 | 4 | 12 |  | 
VTP | 5 | 7 | 35 |  | 
 |  |  | 265 | No FADC cost | 101
 |  |  |  | No trigger | 66
1 VXS crate for APEX / Hall C
2 FADC ordered
Most likely enough FADCs

## Slide 6: Test setup SHMS
1 VXS crate with available FADC slots in SHMS
2 FADC ordered
Cables budgeted but not sure when it will be done : need to run 16 BNC cables to SHMS nose
Test background, FADC in standard Hall C DAQ can take small acceptance DVCS
Goal : pile-up timing resolution

## Slide 7: Cables
1116 cables from patch to SHMS hut
Budgeted for 2018

## Slide 8: Conclusion
A few pieces of hardware required for running
  get a bit every year
  or make large order
    2 x (VXS crates+CPU+TI+SD)
If want calorimeter trigger
  order VTP : additionnal cost possibility of fast readout
  reuse old CTP,GTP ( Hall D, Hall B might upgrade to VTP)
  order of VTP coming up soon
Beam test : 16 channels FADC and 16 cables to be pulled
  occupancies
  effect of pile-up
  Timing resolution
  Data rates
  Resolution
  Radiation damage