## Slide 1: Sweep Magnet Mapping Data
Charles Hyde
Old Dominion University
NPS/CPS Meeting
16 January 2020
Mitch Kerver, Software
Tom Hartlove, Mechanical

## Slide 2: Magnet Mapper
3-D Coverage
  +z towards target
  +y down
  +x horizontal away from beamline
View from below
Beam
Gammas and background

## Slide 3: Horizontal Field at 250 A
Front trim coil off
Field uniform in x and y at center of z-range
z (cm)
y (cm)
Bx(Gauss)

## Slide 4: Bx (Gauss)
Central Field ≈–1100 Gauss
Color = various y-values
z (cm)
x (cm)
30
10
20
0
–50
–100
–150
Bx
0
–1000
–2000

## Slide 5: Bx, Bz
Various x,y values

## Slide 6: Summary
Bx , By , Bz data available in full magnet volume
Beamline data available
Future work: Local Interpolation to test consistency
  ?
  ?