|  | Operational Safety Procedure Form (See ES&H Manual Chapter 3310 Appendix T1 Operational Safety Procedure (OSP) and Temporary OSP Procedure for instructions.) |
| --- | --- |

| Serial Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (Assigned by ESH&Q Document Control x7277) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | OSP |  |  |  |  | X TOSP |  |  |  |  |  |  |  | This document is written to mitigate hazard issues that are (check all that apply): Unable to comply with ES&H Manual requirements as written. New/anticipated/previously unrecognized. Determined to have an unmitigated Risk Code of 3 or 4. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Issue Date: |  |  |  | 06/26/2012 |  |  |  |  |  |  |  |  |  |  |  |  |  | Expiration Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (No more than three years from Issue Date except TOSP which is three months from Issue Date) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Title: | Heavy Photon Search Silicon Vertex Tracker for the Engineering Run |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Location: |  |  | Hall-B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Risk classification (See ESH&Q Manual Chapter 3210 Appendix T3 Risk Code Assignment.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Without mitigation measures (3 or 4): |  |  |  |  |  |  |  | 2 |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | With mitigation measures in place (0, 1, or 2): |  |  |  |  |  |  |  | 1 |  |  |  |
|  |  | Document Owner(s): |  |  |  |  |  |  | Stepan Stepanyan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  | 06/26/2014 |  |  |  |  |  |  |  |
| Supplemental Technical Validations: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hazard Reviewed (per ES&H Manual 2410-T1): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Subject Matter Experts Signature: |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |
|  |  | Safety |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Bert Manzlak |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Electrical |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Todd Kujawa |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Cooling inside the vacuum |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Tim Michaleski |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Mechanical |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Bob Miller |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Interlocks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Krister Bruhwel |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Approval Signatures: |  |  |  |  |  |  |  |  |  |  |  |  |  | Print Signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |
|  |  | Division Safety Officer: |  |  |  |  |  |  |  | Patrizia Rossi |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Department or Group Head: |  |  |  |  |  |  |  |  |  |  | Volker Burkert |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Safety Warden of Area: |  |  |  |  |  |  |  |  | Doug Tilles |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Other Approval(s): |  |  |  |  |  | Bert Manzlak |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document History: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Revision: |  |  | Reason for revision or update: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Serial number of superseded document |  |  |  |  |  |  |  |  |

Distribution: Copies to: affected area, authors, Division Safety Officer, ESH&Q Document Control

After expiration: Forward original and log sheet of trained personnel to ESH&Q Document Control.

|  | - Purpose of the Procedure |  |  |
| --- | --- | --- | --- |
|  | To install and operate Si-tracker (SVT) from SLAC inside the Hall-B pair spectrometer magnet (18D36 dipole) vacuum chamber. |  |  |
|  | - Scope – include operations, people, and/or areas where procedure applies |  |  |
|  | Si-tracker (see attached document) will be installed inside the Hall-B pair spectrometer vacuum chamber for the Heavy Photon Search experiment engineering. Work scope will include installation and alignment of the SVT, connection of the power lines, signal cables and cooling system. Hall-B engineering group will perform installation, JLAB survey group will perform alignment, and HPS collaborators will make connections and tests before closing and pumping vacuum. All the elements of the SVT are tested for magnet and vacuum compatibility. Data taking will use standard Hall-B DAQ system. |  |  |
|  | - Description of the Facility: (include floor plans and layout of a typical experiment or operation) |  |  |
|  | Installation and operation of the HPS SVT system will be done in Hall-B using the Hall-B pair spectrometer and PS vacuum chamber. |  |  |
|  | - Authority and Responsibility: |  |  |
|  |  | 4.1 Who has authority to implement/terminate |  |
|  | John Jaros Tim Nelson Stepan Stepanyan Doug Tilles |  |  |
|  |  | 4.2 Who is responsible for key tasks |  |
|  | Doug Tilles Tim Nelson Stepan Stepanyan |  |  |
|  | - Who analyzes the special or unusual hazards (See ES&H Manual Chapter 3210 Appendix T1 Work Planning, Control, and Authorization Procedure) |  |  |
|  | - Personal and environmental hazard controls including: |  |  |
|  |  | 6.1 Shielding |  |
|  | NA |  |  |
|  |  | 6.2 Interlocks |  |
|  | Chiller will shutdown in an event of flow drop or loss of vacuum. The beam excursion or temperature changes, loss of vacuum or chiller shutdown will initiate SVT HV/LV shutdown through EPICS |  |  |
|  |  | - Other |  |
|  | NA |  |  |
|  | - Monitoring systems |  |  |
|  | Temperature monitoring through EPICS HV/LV monitoring through EPICS |  |  |
|  | - Ventilation |  |  |
|  | NA |  |  |
|  | - List of safety equipment (i.e: personal protective equipment or special tools) |  |  |
|  | NA |  |  |
|  | - Associated administrative procedures |  |  |
|  | NA |  |  |
|  | - Operating guidelines |  |  |
|  | See attachment document or SVT operations manual |  |  |
|  | - Notification of Affected Personnel (How and Who) |  |  |
|  | NA |  |  |
|  | - List of steps required to execute the procedure from start to finish. |  |  |
|  | - Bleed vacuum in PS vacuum chamber - Install and align SVT - Connect cooling, HV/LV and signal lines - Pressure and leak test of cooling pipes - Turn on cooling system - Turn on HV/LV system - Collect data - Install flanges and beam pipes - Slowly pump down PS vacuum chamber and beam line (See also attached document) |  |  |
|  | - Back out procedures, i.e., steps necessary to restore the equipment/area to a safe level. |  |  |
|  | - Turn OFF HV/LV system - Turn OFF cooling system |  |  |
|  | - Special environmental control requirements: |  |  |
|  | NA |  |  |
|  | - Environmental Impacts (See EMP-04 Project/Activity/Experiment Environmental Review |  |  |
|  | None |  |  |
|  | - Abatement Steps – Secondary Containment, or Special Packaging requirements |  |  |
|  | NA |  |  |
|  | - Training requirements |  |  |
|  | Standard training, no special training is needed |  |  |
|  | - Unusual/Emergency procedures e.g., Injury, Fire, Loss of power |  |  |
|  | NA |  |  |
|  | - Instrument calibration requirements, e.g., safety system/device recertification, RF probe calibration |  |  |
|  | No |  |  |
|  | - Inspection schedules |  |  |
|  | NA |  |  |
|  | - References/Associated Documentation |  |  |
|  | Attached |  |  |
|  | - List of Records Generated (Include Location / Review and Approved procedure) |  |  |

Authorized/Trained Individuals:

| Print Name/Signature | Date |
| --- | --- |
| Tim Nelson |  |
| Takashi Maruyama |  |
| Ryan Herbst |  |
| Sho Uemura |  |
| John Jaros |  |
| Stepan Stepanyan |  |
| Krister Bruhwel |  |
| Per Hansson |  |
| Omar Moreno |  |

Form Revision Summary Revision 1 – 12/01/11 - Added reasoning for OSP to aid in appropriate review determination. Revision 0 - 10/05/09 – Updated to reflect current laboratory operations ISSUING AUTHORITY; FORM TECHNICAL POINT-OF-CONTACT; APPROVAL DATE; EXPIRATION DATE; REV.. ESH&Q Division; Harry Fanning; 12/01/11; 12/01/14; 1. This document is controlled as an on line file. It may be printed but the print copy is not a controlled document. It is the user’s responsibility to ensure that the document is the same revision as the current on line file. This copy was printed on 6/26/2014.

|  | 3210Appendix T2 Task Hazard Analysis (THA) Worksheet |  |
| --- | --- | --- |

| Author: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: | 04-02-2012 |  |  |  |  | Task #: If applicable |  |  |  |  | Frequency of use: |  |  | 1 |
| Complete all information. Use as many sheets as necessary |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Task Location: |  |  |  | Hall-B |  |  |  |  | Task Title: |  |  | HPS SVT beam test using the Hall-B pair spectrometer |  |  |
| Division: |  |  | Physics |  |  |  |  |  |  | Department: |  |  | Hall-B |  |
| Lead Worker: |  |  |  |  | Stepan Stepanyan |  |  |  |  |  |  |  |  |  |
| Mitigation already in place: Standard Protecting Measures Work Control Documents |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Sequence of Task Steps | Task Steps/Potential Hazards | Consequence Level | Probability Level | Risk Code (before mitigation) | Proposed Mitigation (Required for Risk Code >2) | Safety Procedures/ Practices/Controls/Training | Risk Code (after mitigation |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Installation of SVT | L | L | 1 | Standard practice | Skill of craft | N |
| 2 | Connecting and operating HV and LV power | L | L | 1 | Standard practice | Skill of craft | N |
| 3 | Cooling system | M | L | 2 | Interlocks to coolant flow and vacuum level to limit amount of coolant leak into the vacuum system | There will be hardware and software interlocks that will trip the chiller and close the solenoid valve, also will turn HV/LV OFF | 1 |

|  | Highest Risk Code before Mitigation: | 2 |  | Highest Risk Code after Mitigation: | 1 |
| --- | --- | --- | --- | --- | --- |

When completed, if the analysis indicates that the Risk Code before mitigation for any steps is “medium” or higher (RC≥3), then a formal Work Control Document (WCD) is developed for the task.  Attach this completed Task Hazard Analysis Worksheet.  Have the package reviewed and approved prior to beginning work.  (See ES&H Manual Chapter 3310 Operational Safety Procedure Program.)

|  | ISSUING AUTHORITY | FORM TECHNICAL POINT-OF-CONTACT | APPROVAL DATE | EFFECTIVE DATE | EXPIRATION DATE | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ESH&Q Division | Harry Fanning | 10/05/09 | 01/01/09 | 10/05/12 | 0 |  |  |

This document is controlled as an on line file.  It may be printed but the print copy is not a controlled document.  It is the user’s responsibility to ensure that the document is the same revision as the current on line file.  This copy was printed on 6/26/2014