## Slide 1: KL Flux Monitoring
Mikhail Bashkanov

## Slide 2: flux monitor location

## Slide 3: spectrum

## Slide 4: decays
 | Br, %
 | 40.55
 | 27.04
 | 12.54
 | 19.52
 | Br, %
 | 40.55
 | 27.04
 | 12.54
 | 19.52

## Slide 5: in-flight decay

## Slide 6
10deg
10deg
1deg
4deg

## Slide 7: Monitor
Plastic scintillators
trackers

## Slide 8: Phi displacement
; ;

## Slide 9
TOF
magnetic
Kaon momentum [GeV]

## Slide 10: FM resolution

## Slide 11: reaction kinematics

## Slide 12: Monitor requirements
Simple, uniform geometry
  Complicated acceptance would not allow accurate flux determination
Cylindrically symmetrical
  To avoid acceptance induced +/- asymmetries
  Simplifies analysis
Magnetic field (solenoid)
Good timing for ToF measurement
Position determination

## Slide 13: Monitor
Plastic scintillator
1 barrel, 2 end-cap Pizzas
3 trackers (MicroMeGaS)
Magnet, 1m long, 50 cm diameter
2000mm
1deg
4deg
5deg
5deg
5deg
10deg
10deg
1000mm

## Slide 14: Monitor
Plastic scintillators
trackers
At least 2 double-hits in trackers
  Accurate position determination
2 or 3 time information per track
  2 side readout for the barrel
  6 or 7 time stamps per event
Momentum vs TOF particle id
No converter
kinematics + TOF -> precise momentum reconstruction
Consider 2nd barrel outside magnet for better separation
10-20 deg displacement at 1T field
  better tracker <-> smaller field
Better than 10 MeV resolution
Goal flux accuracy

## Slide 15: “Simple” KL Flux Monitor

## Slide 16: “Simple” monitor
No magnet
1 double layer tracker instead of 3
  Enough in absence of magnetic field
Precise TOF
  6 time stamps per track
  12 time stamps per event
  2” Hamamatsu H6533 assembly (R4998 PMT) 50ps time resolution, 1.6kGBP
    Possible use of MCP-PMT for one layer (price 10x H6533), time resolution 12ps of single MCP-PMT
Absorber for separation

## Slide 17: Monitor
Plastic scintillators
Trackers
absorber
Accurate position determination
6 time information per track
  2 side readout for the conical barrels
kinematics + TOF -> precise momentum reconstruction
absorber for better separation
Better than 10 MeV resolution
No separation
No CP violation measurements

## Slide 18: Conclusion
Dedicated Flux Monitor with uniform acceptance and small magnetic field is achievable
  CP-violations
  Sterile neutrino searches
“Simple” version
  cheap & simple
  No superconducting magnet
  Only one tracker
  Same acceptance