## Slide 1: KLF Beamline Meeting July 26, 2024
P. Degtiarenko

## Slide 2: CPS Model Update – July 2024, “KLCPS80-dev”
Several iterations for the BDM design:
  A thin radiator ring inside the beam pipe in front of the CPS
  Radius 4.5-5.5 mm, just intercepting tails of the FWHM 2.8 mm beam
  Materials: Carbon, Beryllium, Copper
  Detectors:
    Original in-vacuum fused silica cylinder detecting electrons exiting backwards: good sensitivity, but a significant back-streaming radiation from the CPS collimator
    Moving the detectors out into the shadow of the CPS shielding, forward direction, still in-vacuum. Seems to be too complex
  https://userweb.jlab.org/~pavel/projects/KLCPS/klcps80/Beam_Displacement_Monitoring/BPos_C_1mm/BPos_C_1mm_ZX_Geom.png
    Using higher Z copper ring and place the detectors in the air outside the beam line, forward direction. Several iterations on the ring thickness and detector position
  Current configuration seems to be acceptable
  https://userweb.jlab.org/~pavel/projects/KLCPS/klcps80/Beam_Displacement_Monitoring/BDM_Images/Geometry01.png

## Slide 3: First Take on the BDM Design

## Slide 4: Current BDM Model
Copper ring 0.5 mm thick, 1 mm radial thickness, four 1 mm wide stokes, made out of a copper plate
Four 1 inch diameter PMTs with 1 cm fused silica Cherenkov radiator, inside of the steel pipes, with mu-metal wrap-around

## Slide 5: Beam Profile, Nominal Conditions
Copper ring 0.5 mm thick, 1 mm radial thickness, four 1 mm wide stokes, made out of a copper plate

## Slide 6: Beam Profile, Nominal Conditions
Copper ring 0.5 mm thick, 1 mm radial thickness, four 1 mm wide stokes, made out of a copper plate

## Slide 7: Beam Profile, FWHM = 2.0 mm
Copper ring 0.5 mm thick, 1 mm radial thickness, four 1 mm wide stokes, made out of a copper plate

## Slide 8: Beam Profile, FWHM = 2.0 mm
Copper ring 0.5 mm thick, 1 mm radial thickness, four 1 mm wide stokes, made out of a copper plate

## Slide 9: Beam Profile Beam Displacement dX = 0.5 mm
Copper ring 0.5 mm thick, 1 mm radial thickness, four 1 mm wide stokes, made out of a copper plate

## Slide 10: Beam Profile Beam Displacement dX = 1.0 mm
Copper ring 0.5 mm thick, 1 mm radial thickness, four 1 mm wide stokes, made out of a copper plate

## Slide 11: Beam Profile Beam Displacement dX = 2.0 mm
Copper ring 0.5 mm thick, 1 mm radial thickness, four 1 mm wide stokes, made out of a copper plate

## Slide 12: BDM Detectors Count Rates
Copper ring 0.5 mm thick, 1 mm radial thickness, four 1 mm wide stokes, made out of a copper plate

## Slide 13
Prompt Dose-Eq Rates for Electrons Nominal Conditions

## Slide 14
Prompt Dose-Eq Rates for Electrons Beam Displacement dX = 0.5 mm

## Slide 15
Prompt Dose-Eq Rates for Electrons Beam Displacement dX = 1 mm

## Slide 16
Prompt Dose-Eq Rates for Electrons Beam Displacement dX = 2 mm

## Slide 17
Activation Dose-Eq Rates Nominal Conditions
1 Hour after a Long Run

## Slide 18: CPS Model Update – July 2024, “KLCPS80-dev”
Latest BDM design seems to be functional and doable
Extra radiation environment due to BDM acceptable
Adjustable parameters:
  Thresholds
  Angle and distance
  Extra shielding
  PMT selection
Slight modification for the beam line and magnet shielding in the model
New magnetic field will be in the next version