## Slide 1
Production of Highly Polarized Positrons using MeV Energy Polarized Electrons
(…or why polarized positrons are like Red-Billed Oxpeckers)
Joe Grames
Center for Injectors & Sources, Jefferson Laboratory
University of Illinois Alumnus ‘00
On Behalf of the PEPPo Collaboration
Notes: INJECTOR SCIENTIST AT JEFFERSON LAB
WOULD LIKE TO TELL YOU ABOUT A SMALL EXPERIMENT WE PERFORMED TO PRODUCE POLARIZED POSITRONS AT LOW ENERGY
WILL GET TO THIS COMMENT AT THE END

## Slide 2
Outline
Motivation
PEPPo Experiment
Polarized Positron Beam R&D
Jefferson Lab Positron Working Group
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
2

## Slide 3
3
Jefferson Lab’s CEBAF Accelerator
CW electron beams to 4 Halls
Electron Polarization 85-90%
Max Energy: 11 GeV(ABC) / 12GeV(D)
Max Current: 85 mA
The charge and polarization of the probe beam provide degrees of freedom which isolate physical observables of great interest.
CEBAF physics would benefit from a polarized positron beam:
  Interference (Two Photon, GPD’s, WNC)
  Standard Model Test (Dark Matter, C3q)
Other facilities may benefit from polarized positrons:
  Electron Ion Collider (spin EMC, Strange/Charm PDF’s)
  Low Energy Source (spintronic devices, ferromagnetics)
Polarized Positron Beam Applications
Beam Quantity | User Interest
Intensity | > 10 nA
Duty Factor | 100 % (cw)
Bunch Frequency | 499 MHz (or sub-harmonic)
Polarization | > 50 % (4p control)
Helicity | Rapid reversal (> 30 Hz)
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
3
Notes: JEFFERSON LAB RECENTLY UPGRADED 12 GEV AND 4 HALLS
3 HALLS CONTAIN EXPERIMENTS W/ POLARIZED ELECTRON BEAMS UP TO 11 GEV AND HIGH POL 85%
IN 2009 WE HELD JPOS09, TO IDENTIFY INTEREST FOR E+ AS ADDITIONAL PROBE FOR CHARGE AND POLARIZATION
MANY OF YOU CONTRIBUTED FOR CEBAF PROGRAM (E.G. INTERFERENCE TERMS) OR EIC, EVEN AS PROBE FOR LOW ENERGY
AS AN INJECTOR SCIENTIST I WAS KEENLY INTERESTED IN BASIC NEEDS

## Slide 4
P(e+) = 73 ± 15(stat) ± 19(syst) %
Compton Backscattering (KEK)
T. Omori et al, PRL 96 (2006) 114801
Helical Undulator (SLAC E166)
G. Alexander et al, PRL 100 (2008) 210801
P(e+) = 80 ± 7(stat) ± 9(syst) %
47.7GeV
Polarized b+ Decay
L.A. Page & M. Heinberg. Phys. Rev.
106(6):1220-1224 (1957)
Polarized due to parity non-conservation in the weak interaction
P(e+) ~ 40 %
Sokolov-Ternov Effect
D. Barber , AIP Conf. Proc. 588, 338 (2001)
HERA 27.5 GeV e+/e-
P(e+) ~ 70 %
Polarized Positron Options
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
4
Notes: TO PROVIDE SOME CONTEXT, POLARIZED POSITRONS CAN BE COLLECTED IN A NUMBER OF WAYS
BETA DECAY – WEAK INTERACTION (NOT EFFICIENT FOR RF ACCEL)
ST – QUANTUM EMISSION OF SYNC. RAD. (NOT COMPATIBLE W/ CW BEAM)
PAIR PRODUCTION BY POLARIZED GAMMAS (PLAUSIBLE, BUT HIGH TECHNICAL CHALLENGE – INTENSE LASERS, HIGH ENERGY BEAMS)
WE WONDERED IF WE COULD SIMPLY USE OUR POLARIZED ELECTRON BEAM

## Slide 5
5
E.A. Kuraev, Y.M. Bystritskiy, M. Shatnev, E.Tomasi-Gustafsson, PRC 81 (2010) 055208
E.G. Bessonov, A.A. Mikhailichenko, EPAC (1996) A.P. Potylitsin, NIM A398 (1997) 395
Polarized Electrons for Polarized Positrons
Polarized Bremsstrahlung
Pcirc(g) / Pz (e-)
Eg / Te-
Polarized Pair Creation
Pz (e+) / Pcirc (g)
Te+ / (Eg – 2me+)
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
5
Notes: THE PEPPO METHOD IS PRETTY STRAIGHT-FORWARD
FIRST STAGE IS POLARIZED BREMMSTRHALUNG
SECOND STAGE IS POLARIZED PAIR CREATION
THIS COULD BE DONE IN SEPARATE TARGETS, BUT CONVENIENTLY ALSO IN ONE SINGLE TARGET
WE LEARNED EARLY ON THE CALCULATIONS OF OLSON/MAXIMON WERE NOT CORRECT AT LOW ENERGY, ESPECIALLY PAIR CREATION
NEW CALCULATIONS WERE DONE, THAT AGREE W/ OM AT HIGHER ENERGIES
WE WERE NOT FIRST TO PROPOSE THIS IDEA, SO WHY NOT BEFORE…

## Slide 6
Positron Yield using 10 MeV Electrons
>10nA e+ for CEBAF => requires 0.1-1.0 milliAmp e- beam
Electro-magnetic Shower
e+ yield ~ e- beam power (E*I)
High Z-target increases yield
Operate at low energy below photo-neutron threshold to mitigate radioactivity
10 MeV e- shower
e+/e- yield ~ 0.1 % (optimized)
Collection efficiency ~ 1-10 %

## Slide 7
QE ~ 5%, 30 mA/W
Pol ~ 35% @ 780 nm
Bulk GaAs
QE ~ 0.2%, 1 mA/W
Pol ~ 75% @ 850 nm
Strained GaAs:
GaAs on GaAsP
100 nm
Superlattice GaAs:
Layers of GaAs on GaAsP
QE ~ 1%, 6 mA/W
Pol ~ 85% @ 780 nm
100 nm
14 Layers
2 μm
350 μm
625 μm
CEBAF GaAs Photocathode Evolution
Spin Polarized Electron programs (particularly PV Users) have
driven the need for improved performance over last 20+ years
Pe- 35% 35% 75% 75% 85% 89%
Ie- 30mA 100mA 50mA 100mA 150mA 200mA
1995 1998 1999 2000 2004 2012 2016
~200 mA for 4 months (3 Halls simultaneously) w/ high-P
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
7
Notes: FOR US AT JLAB, HOWEVER, SAW THIS AS AN OPPORTUNITY TO EXPLOIT WHAT WE’VE BEEN DOING W/ POLARIZED E- BEAMS FOR TWO DECADES
OVER THAT TIME THE SPIN PROGRAM HAS DRIVEN IMPROVEMENT
GAAS PHOTOCATHODES THAT BREAK DEGENERACY, YET RETAIN HIGH QUANTUM EFFICIENCY
THIS MEANS HIGH SPIN POLARIZATION (85%) AND HIGH QE (>1%)
LEARNING HOW TO SUSTAIN THIS FOR LONG PERIODS MAKES THIS VIABLE

## Slide 8
Polarized Electron Source Intensity Frontier
Year
Intensity (mA)
SLAC: First GaAs photogun
JLAB: Low-P Bulk GaAs
JLAB: High-P GaAs/GaAsP
Parameter | Value | Value
Laser Rep Rate | 499 MHz | 1500 MHz
Laser Pulse Length | 30 ps | 50 ps
Laser Wavelength | 780 nm | 780 nm
Laser Spot Size | 0.45 mm | 0.35 mm
Photocathode | GaAs/GaAsP | GaAs/GaAsP
Gun Voltage | 100 kV | 200 kV
Beam Current | 1 mA | 4 mA
Run Duration | 8.25 hr | 1.4 hr
Extracted Charge | 30.3 C | 20 C
Charge Lifetime | 210 C | 80 C
Fluence Lifetime | 132 kC/cm2 | 83 kC/cm2
Bunch Charge | 2.0 pC | 2.7 pC
Peak Current | 67 mA | 53 mA
Peak Current Density | 42 A/cm2 | 55 A/cm2
J. Grames et al., PAC07, THPMS064
R. Suleiman et al., PAC11, WEODS3
High polarization and current demonstrated
Milli-ampere operation requires improved charge lifetime (e.g. 1 mA ~ 86 C/day)
May benefit from Fluence Lifetime
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
8
Notes: THE HARD PART WAS LEARNING HOW TO OPERATE TO MAINTAIN HIGH CURRENT – VACUUM, BEAM MANAGEMENT, LASER MANAGEMENT
THIS PROVIDED SOME OPPORTUNITIES AND WE DEMONSTRATED OPERATING IN THE MILLIAMP LEVEL, ENCOURAGING FOR HIGH CURRENT
HOWEVER CHARGE LIFETIME (EXTRACTED BEFORE QE BECOMES INEFFICIENT) IS 100-200 C AND MA MEANING 1-2 DAYS
SO MORK WORK TO BE DONE BEFORE SUSTAINED MA OPERATION IS ROUTINE

## Slide 9
Outline
Motivation
PEPPo Experiment
Polarized Positron Beam R&D
Jefferson Lab Positron Working Group
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
9

## Slide 10
BREMSSTRAHLUNG
Longitudinal e- (Pe-) produce elliptical g whose circular (Pg) component is proportional to Pe-
COMPTON TRANSMISSION
Polarized e+ convert into polarized g (Pg) whose transmission through a polarized iron target (PT) depends on Pg.PT
PAIR PRODUCTION
In the same target, g produce e+e- pairs and transfer Pg into longitudinal (Pe+) and transverse polarization averages to zero
Pe-
e-
T1
Polarized Electrons
(< 10 MeV/c) strike production target
S1
D
D
S2
Pe+
Positron Transverse and Momentum Phase Space Selection
e+
T2
PT
Calorimeter
Compton Transmission Polarimeter
Ee = 6.3 MeV
Ie = 1 µA
T1 = 1 mm W
Geant4
PEPPo
J. Dumas, PhD Thesis (2011)
PEPPo measured the longitudinal polarization transfer from 8.25 MeV/c e- to e+ in the 3.07-6.25 MeV/c momentum range.
Measuring Polarization Transfer <10 MeV
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
10

## Slide 11
PEPPo (E12-11-105) @ CEBAF Injector
Compton
Polarimeter
(DESY/Cornell)
Positron
Spectrometer
(Princeton/SLAC)
Positron
Production
Target
Mott
Polarimeter
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
11
Lead
Shielding
Polarized
Electron Beam
(3-10 MeV)
Positron Annihilation Counters

## Slide 12
T1
T2
S1
S2
D
D
e+
e-
Positron Collection
Na22
Two NaI detectors measured coincidence of back-to-back photons emitted by annihilation of positrons in a viewscreen.
12
pe-= 8.2 MeV/c
4 MeV/c e+
Viewscreen 0.011 thick @ 45 deg to beam line
99.5% aluminum oxide Al2O3
0.5% chromium doped Al2O3/Al2O3Cr2O3
Positron Detection
e+
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
12

## Slide 13
13
Detected e+ rate (1 e+ per 109 e-)
Solid Angle (0.1 sr)
GEANT annihilation probability (1/400)
Coincidence detector efficiency (0.49 @ 511keV)
1 e+ per 105 e-
Positron Yield
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
13

## Slide 14
e+
Pe+
Positrons (or Electrons) radiate polarized photons by Bremmstrahlung in reconversion target. Energy dependent Compton scattering of photons transmitted through polarized target correspond to polarization of incoming Electrons or Positrons (aligned or anti-aligned).
μ1 - Compton absorption coefficient
L - target length
P3 - photon polarization (long.)
Pe - electron/positron polarization
PT - target polarization
Ae - analyzing power
g
Polarimeter Target (Densimet D17K) 90.5% W, 7%, 2.5% Cu
Compton Transmission Polarimetry
PT = 7.06% ± 0.05% (sys1) ± 0.07% (sys2)
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
14
Fe Core
e-
Pe-

## Slide 15
C
A
L
O
R
I
M
E
T
E
R
e+
g
Trigger Scintillator
10mil Al window
Reconversion
Target
Positrons are detected in coincidence between a thin trigger scintillator placed prior to the reconversion target and the central crystal and tagged by e- helicity.
Trigger Scintillator
Coincidence
Calorimeter
Positron Identification
WITHOUT
Coincidence
WITH
Coincidence
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
15
Backgrounds

## Slide 16
511 keV from e+ annihilation at rest
Bremsstrahlung
end-point
Energy (FADC units)
Positron Energy Integrated Asymmetry
Accidentals
Time (TDC units)
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
16

## Slide 17
On-Line Experimental Compton Asymmetries
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
17
Improve
Shielding
Pass I
Pass II
Systematic
Sign Reversal
Beam Pol.
Target Pol.

## Slide 18
Electron/Positron Analyzing Power
Experimental measurements of electron analyzing power allows us to benchmark GEANT4 model of the PEPPo Compton transmission polarimeter for the purpose of simulating the positron analyzing power.
See A. Adeyemi talk for calibration of the Compton transmission polarimeter
Pe – e-/e+ polarization
PT - target polarization
Ae - analyzing power
Electron beam polarization
Pe- = 83.7% ± 0.6% (stat) ± 0.7% (sys)
Target polarization
PT = 7.06% ± 0.05% (sys1) ± 0.07% (sys2)
Calibration performed with precisely known electron beam energy/polarization, and target polarization.
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
18

## Slide 19
Electron polarization (~85%) efficiently transferred from 8.2 MeV/c electron beam to positrons (measured 3.2 – 6.7 MeV/c).
e- beam polarization
85.2 ± 0.6 ± 0.7 %
Positron Polarization Results
(PEPPo Collaboration) D. Abbott et al., Phys. Rev. Lett. 116 (2016) 214801
Whenever producing e+ from e-, polarization is coming for free
if initial electrons are polarized.
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
19

## Slide 20
P. Adderley1, A. Adeyemi4, P. Aguilera1, M. Ali1, H. Areti1, M. Baylac2, J. Benesch1,
G. Bosson2, B. Cade1, A. Camsonne1, L. Cardman1, J. Clark1, P. Cole5, S. Covert1,
C. Cuevas1, O. Dadoun3, D. Dale5, J. Dumas1,2, E. Fanchini2, T. Forest5, E. Forman1,
Freyberger1, E. Froidefond2, S. Golge6, J. Grames1, P. Guèye4, J. Hansknecht1,
P. Harrell1, J. Hoskins8, C. Hyde7, R. Kazimi1, Y. Kim1,5, D. Machie1, K. Mahoney1,
R. Mammei1, M. Marton2, J. McCarter9, M. McCaughan1, M. McHugh10, D. McNulty5, T. Michaelides1, R. Michaels1, C. Muñoz Camacho11, J.-F. Muraz2, K. Myers12,
Opper10, M. Poelker1, J.-S. Réal2, L. Richardson1, S. Setiniyazi5, M. Stutzman1,
R. Suleiman1, C. Tennant1, C.-Y. Tsai13, D. Turner1, A. Variola3, E. Voutier2,11,
Y. Wang1, Y. Zhang12
1 Jefferson Lab, Newport News, VA, US 2 LPSC, Grenoble, France 3 LAL, Orsay, France
4 Hampton University, Hampton, VA, USA 5 Idaho State University & IAC, Pocatello, ID, USA
6 North Carolina University, Durham, NC, USA 7 Old Dominion University, Norfolk, VA, US
8 The College of William & Mary, Williamsburg, VA, USA 9 University of Virginia, Charlottesville, VA, USA 10 George Washington University, Washington, DC, USA 11 IPN, Orsay, France
12 Rutgers University, Piscataway, NJ, USA 13 Virginia Tech, Blacksburg, VA, USA
Many thanks for support from SLAC E166, DESY, Princeton, Cornell, International Linear Collider Project and Jefferson Science Associates
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
20
PEPPo Collaboration

## Slide 21
Outline
Motivation
PEPPo Experiment
Polarized Positron Beam R&D
Jefferson Lab Positron Working Group
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
21

## Slide 22: Polarized Positrons at JLEIC
A pulsed positron beam with low average current (>10 nA) is required for injection into JLEIC with a reasonably short injection time (minutes) and reasonably high equilibrium polarization (>40%).
A group (J. Grames, J. Guo, F. Lin, V. Morozov, E. Voutier, Y. Zhang) is exploring a polarized positron injector suitable for Jefferson Lab Electron Ion Collider (JLEIC).
L ≥1033cm-2s-1 Pe+≥40%
(An Early Career Award proposal will be submitted.)
35 s
68.1 MHz bunch train, 1.6 us
110 bunches (I = 4.6 uA)
67 fC
1.05 ms
20 ms
~ 50 Hz, Iave= 10.5 nA
…
×30
Bunch structure from an e+ injector:
See F. Lin’s talk: Spin dynamics at Jefferson Lab Electron Ion Collider (JLEIC)
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
22
e+

## Slide 23: JLEIC/CEBAF Positron Injector
10 MeV polarized e-
1.33 pC @ 1500 MHz
10 MeV pol e-
0.67 nC bunches
@ 1500 MHz
500-Turn
Accumulator Ring
(22m)
Bunch
Management
10 MeV polarized e-
0.67 nC @ 68.1 MHz
Positron Conversion/Collection Efficiency ~ 10-4
5-7 MeV Polarized e+
67 fC @ 68.1 MHz
to CEBAF/JLEIC
Harmonic
Extraction Ring
(22m)
 | Polarized Electron Source | Accumulator/ Extractor Rings | Electrons at Converter | Polarized Positron Source | R&D Challenge
JLEIC | Ave = 100 mA 1.33 pC @ 1500 MHz 2 mA w/ DF=5% | Ave = 1 A 1500 MHz | Ave = 100 uA 68.1 MHz 44 mA @ DF=0.23% | Ave = 10 nA 68.1 MHz 4.4 uA @ DF = 0.23% | Electron accumulator Harmonic extraction Target: 440 kW peak
CEBAF | Ave = 1-10 mA 4-40 pc @ 250 MHz (cw) | Not Necessary | Ave = 1-10 mA 250 MHz (cw) | Ave = 100 nA - 1 mA 250 MHz (cw) | High-QE photocathode High voltage gun Target: 10-100 kW ave
Polarized
Electron
10 MeV Injector
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
23
Slide courtesy of Fanglei Lin

## Slide 24: Multi-Turn Injection
Concept: an orbit bump created near a septum and then slowly reduced as beam being injected (phase-space painting)
A number of painting schemes have been developed
Process can also be simultaneously occurring in vertical and longitudinal dimensions
CERN’s LEIR has a design for 75-turn injection of Pb54+, we plan to push this number to a few hundred to a thousand using low electron emittance
Main injection system components
  Magnetic or electrostatic septum
  Four bumper magnets with ~1 s rise time, reasonably fast fall-off time and ~10 mrad maximum deflection
Injected beam
Accumulator ring
x
x
> Septum thickness + bunch width
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
24
Slide courtesy of Vasiliy Morozov

## Slide 25
Harmonic Kicker Extraction
Chart: Waveform kicks 1 in 10 bunches w/ bunch = 476MHz Synthesized with 9 RF harmonics and 1 DC mode
Harmonic kicker that kicks every 3rd bunch
Empty ring buckets already kicked out to linac
Ring buckets still occupied by bunches
Empty linac buckets
Linac buckets occupied by extracted bunches
Y. Huang. Phys. Rev. Accel and Beams, 19, 084201 (2016)
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
25
Slide courtesy of Jiquan Guo

## Slide 26
There is high power deposition in conversion target.
Details depends upon
  Conversion efficiency (number of positrons per incident electron or photon)
  Ultimate positron intensity required
  Target material
  Time structure
Consider 20 kW deposited in 1X0 of tungsten (W) :
Managing Beam Power

## Slide 27
High Power Target R&D
Stainless Steel Windows (0.25mm)
LBE (2mm)
Input (e-)
Output (e-,e+,γ)
Liquid Metal Target – lead-bismuth eutectic (LBE)
  High Z = 82, 83
  Low melting point: 124°C
  High boiling point: 1670°C
Multiple LBE targets tested on various accelerators
  Natural Circulation
  Mechanical Pumping
  Electromagnetic Pumping
Approaching 10 kW power level, CW
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
27
Slide courtesy of James McCarter

## Slide 28: High Polarization Photocathode R&D
6.4% QE & 84% polarization at 776 nm from strained GaAs/GaAsP superlattice photocathode with GaAsP/AlAsP Distributed Bragg Reflector (DBR)
The highest QE & FOM of any reported high polarization photocathode
Possible to improve both QE & Pol
SBIR partnership
Paper ready for SPIN and APL submission: W. Liu, S. Zhang, M. Stutzman, M. Poelker, Y. Chen, W. Lu, and A. Moy
DBR
Substrate
Photo-cathode
See talk by W. Liu talk
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
28

## Slide 29
Higher Voltage (300 kV) Inverted Photo Gun
8 MV/m
11 MV/m
First insulator commissioned to 325 kV
New insulator, getting installed now, supports higher voltage operation
CsK2Sb 1mA
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
29

## Slide 30
Summary
The PEPPo technique provides access to highly spin-polarized positrons in a reliable, radioactive-less, and low-cost method, opening access to a wide community.
A polarized positron program in the context of CEBAF 12 GeV, JLEIC and LERF (300 MeV ERL) is being explored.
A DOE Early Career proposal for an experimental polarized positron beam R&D program will be submitted.
If you would like to participate in the newly formed Jefferson Lab Positron Working Group please visit: wiki.jlab.org/pwg
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
30

## Slide 31
Synergy
The Hippopotamus and Red-Billed Oxpecker share a positive and synergistic relationship.
J. Grames, SPIN 2016 @ UIUC, Sep 26-30 2016
31