|  | OWL | DAY | SWING |
| --- | --- | --- | --- |
| Date/Time |  |  |  |
| Your name |  |  |  |

| Is alarm handler running on hacweb7? |  |  |  |
| --- | --- | --- | --- |
| Beam Energy (GeV) |  |  |  |
| Beam energy lock on? Yes/No (see halog 3385399) |  |  |  |
| Beam current (µA) |  |  |  |
| Raster on? Yes/No |  |  |  |
| Fast feedback on? Yes/No |  |  |  |
| Spot size X/Y (mm) |  |  |  |
| A Beam Position Monitor X/Y (mm) E |  |  |  |
| BCM temperature (K) (PV, PS, Thermocouple Readback) |  |  |  |
| Arc energy measurement information logged in halog? (see halog 3377609) |  |  |  |

| Beam half wave plate in/out |  |  |  |
| --- | --- | --- | --- |
| Wien angle (Horizontal) |  |  |  |

| Target/Loop |  |  |  |
| --- | --- | --- | --- |
| Target temperature (K) |  |  |  |
| Target pressure (psi) |  |  |  |

| Argon pressure (psi) |  |  |  |
| --- | --- | --- | --- |
| Ethane pressure (psi) |  |  |  |
| CO2 pressure (psi) |  |  |  |

| Visual Hall inspection OK? |  |  |  |
| --- | --- | --- | --- |

|  | OWL | DAY | SWING |
| --- | --- | --- | --- |
| Date/Time |  |  |  |

| Left Arm angle (deg) |  |  |  |
| --- | --- | --- | --- |
| Left Arm momentum (GeV) |  |  |  |
| Left Arm regulator on? (Q1, Q2, D, Q3) Should be off for Q1 |  |  |  |
| Left Arm cryo flow level OK? Yes/No He>60%, N>25% |  |  |  |
| Left Arm NMR OK? Yes/No |  |  |  |
| Left Arm Q1 current (A) |  |  |  |
| Left Arm Q2 current (A) |  |  |  |
| Left Arm D current (A) |  |  |  |
| Left Arm Q3 current (A) |  |  |  |

| Left VDC HV on (top/bottom)? |  |  |  |
| --- | --- | --- | --- |
| Left s0/s2m HV on? |  |  |  |
| Left Cerenkov HV on? |  |  |  |
| Left Pion rejector HV on? |  |  |  |
| Left VDC gas flow (top/bottom) |  |  |  |

| Check online plots (y/n)? -LHRS |  |  |  |
| --- | --- | --- | --- |
| Latest run type (Test, Physics,..)-LHRS |  |  |  |

| Time of beginning of latest run (LHRS) |  |  |  |
| --- | --- | --- | --- |
| Latest run number (Left HRS) |  |  |  |

| DVCS Valid rates (Hz) (LXscaler misc page) |  |  |  |
| --- | --- | --- | --- |
| Dead time (%) (LHRS) |  |  |  |
| EDTM on? Yes/No |  |  |  |

|  | OWL | DAY | SWING |
| --- | --- | --- | --- |
| Date/Time |  |  |  |

| Right arm angle (deg) |  |  |  |
| --- | --- | --- | --- |
| Right arm momentum (GeV) |  |  |  |
| Right Arm momentum regulator on? (Q1,Q2,D,Q3?) |  |  |  |
| Right arm cryo flow level OK? Yes/No He>60%, N>25% |  |  |  |
| Right Arm NMR OK? Yes/No |  |  |  |
| Right Arm Q1 current (A) |  |  |  |
| Right Arm Q2 current (A) |  |  |  |
| Right Arm D current (A) |  |  |  |
| Right Arm Q3 current (A) |  |  |  |
| Right s0/s2m HV on? |  |  |  |
| Right Cerenkov HV on? |  |  |  |
| Right Pion rejector HV on? |  |  |  |
| Right VDC gas flow (top/bottom) |  |  |  |
| Right VDC HV on (top/bottom)? |  |  |  |

| Check online plots (y/n)? -RHRS |  |  |  |
| --- | --- | --- | --- |
| Latest run type (Test, Physics,..) -RHRS |  |  |  |

| Time of beginning of latest run (RHRS) |  |  |  |
| --- | --- | --- | --- |
| Latest run number (Right HRS) |  |  |  |

| Dead time (%) (RHRS) |  |  |  |
| --- | --- | --- | --- |