## Slide 1
Not connected
Not connected
Not connected
Not connected
Not connected
Not connected
Not connected
Level
Translator
LeCroy 4616
LeCroy 4616
FIFO
Discriminator
Dual Gate
Generator
NIM - ECL
Logic Unit
3 3 6 6 4 6 4
LeCroy 4616
5

## Slide 2
Downstairs
LHRS
C
T1
2
3
4
5
6
7
8
9
12
EXT
2P
2F
3F
3F
FB
INB
1A0
1
2
3
4
5
6
7
8
2A
3A
CLR
2S
3S
ENI
LIV
BSY
ORI
GO
GT
NIM to ECL
S0 & S2
S0 & GC
S2 & GC
S0 & SH
S2 & SH
GC & SH
EDTM
CLOCK
TS
to LeCroy 4616
Rack 3 Top Crate
Input 9 (ECL)
to LeCroy 4616
Rack 3 Top Crate
Input 4 (ECL)
to LeCroy 4616
Rack 3 Bot Crate Right
Input 13 (ECL)
L1A
RT
L1A0
L1A0
RT0
TI input
L1A
GO
BSY
EL1
LIV
CLR
L1T1
SG01
SG02
Downstairs
RT in
From NIM-ECL
convertor (Ch 17)
Rack 3 Bot Crate
width
delay
RT
TDC
ADC
TM
TDC to LeCroy 4616 Rack 3 Bot Crate (Right) input 15 (ECL)
From LeCroy 4616 Rack 3 Bot Crate (left) output 15 (ECL)
BI1 BOT FB
BI2 MID FB
BIR TOP FB
RHRS
TS, TM, RT
April 12, 2017
SG_03
to FIFO Rack 3 Bot Crate (very 1st input)
ADC
ADC
TDC
TDC
TDC
TDC
- +
- +
- +
+ G
L1A_OR
L1A_IR
L1_T2
TDC ADC

## Slide 3
Busy from LHRS
From LeCroy 4616 Rack 3 Bot Crate – Ch 5
From LeCroy 4616 Rack 3 Bot Crate – Ch 3
From LeCroy 4616 Rack 3 Bot Crate – Ch 4
FIFO
(Octal conf.)
out
out
out
out
out
out
in
in
Sync/Gate/FB/MID
Sync/Gate/FB/TOP
Scaler 4 - Gate
Scaler 5 - Gate
Scaler 1 - Gate
Scaler 3 – Ch1
Ch1 LHRS-RHRS
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
1 2 3 4
5 6 7 8
9 10 11 12
13 14 15 16
TI
scaler 1
scaler 2
scaler 3
scaler 4
scaler 5
scaler 6
scaler 7
RT
RACK 3 – MID CRATE
FB input in TS
Scaler 5 – input 10
Scaler 5 – input 11
Unplugged
From SG_03 in TM module (Rack 3 Mid Crate)
TI output 0
Betty D-10
Betty D-11
LeCroy 4616
(Rack 3 Bot Crate Left)
RHRS
LeCroy 4616 (Left) & FIFO (Rack 3, Bot Crate)
April 18, 2017

## Slide 4
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
1 2 3 4
5 6 7 8
9 10 11 12
13 14 15 16
S0 & S2
S0 & GC
S2 & GC
S0 & SH
S2 & SH
GC & SH
EDTM
CLOCK
From LeCroy 4616 Rack 3 Top Crate (BCM 3)
[EMPTY]
[TERMINATED]
[TERMINATED]
[TERMINATED]
RT
[EMPTY]
[EMPTY]
[EMPTY]
LeCroy 4616
(Rack 3 Bot Crate Right)
Downstairs
?
?
From TM (TDC Gate)
From TS (output 3)
TOP FB TDC
MID FB TDC
BOT FB ADC
?
Going Downstairs
Logic Unit
Logic Unit
Logic Unit (just making copies)
Discriminator
FIFO Rack 3 Bot Crate Module 7
FIFO Rack 3 Bot Crate Module 7
FIFO Rack 3 Bot Crate Module 8
Dual Gate Generator
Dual Gate Generator
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
NIM – ECL
Convertor
To TS
RHRS
LeCroy 4616 (Right) & NIM-ECL
(Rack 3, Bot Crate)
April 18, 2017

## Slide 5
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
1 2 3 4
5 6 7 8
9 10 11 12
13 14 15 16
UNSER
BCM 4
BCM 5
BCM 3
BCM 2
BCM 3 to Ch9
NIM-ECL conv.
Rack 3 Bot Crate
(not used)
LeCroy 4616
(Rack 3 Top Crate)
Ch 12
Ch 13
Ch 14
Ch 15
Ch 16
Scaler
Rack 3 Mid Crate
Top
Mid
Bot
Sync/Clock/FB
From TS
Rack 3 Mid Crate
output 2
From TS
Rack 3 Mid Crate
output 1A0
RHRS
LeCroy 4616
(Rack 3, Top Crate)
April 18, 2017

## Slide 6
Octal Discriminator
(Rack 3 Bot Crate)
out
out
out
in
LeCroy 4616 (Right)
Rack 3 Bot Crate
input 8
NIM – ECL
Rack 3 Bot Crate
input 14
NIM – ECL
Rack 3 Bot Crate
input 13
LeCroy 4616 (Right)
Rack 3 Bot Crate
output 13
Dual Gate Grator
(Rack 3 Bot Crate)
start busy stop
in out
BLANK TTL DEL
OR NIM NIM
start busy stop
in out
BLANK TTL DEL
OR NIM NIM
A
B
C
D
out
out
veto
out
coinc.
level
A
B
C
D
out
out
veto
out
coinc.
level
A
B
C
D
out
out
veto
out
coinc.
level
A
B
C
D
out
out
veto
out
coinc.
level
1
1
1
LeCroy 4616 (Right)
Rack 3 Bot Crate
output 15
RHRS
Discriminator, Gate Generator, Logic Unit
(Rack 3, Bot Crate)
April 18, 2017
Quad Logic
(Rack 3 Bot Crate)
NIM-ECL (Rack 3 Bot Crate) input 11
LeCroy 4616 (Right)
Rack 3 Bot Crate
input 2
LeCroy 4616 (Right)
Rack 3 Bot Crate
input 1
LeCroy 4616 (Right)
Rack 3 Bot Crate
input 6

## Slide 7
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
1 2 3 4
5 6 7 8
9 10 11 12
13 14 15 16
Dual Gate Grator
start busy stop
in out
BLANK TTL DEL
OR NIM NIM
start busy stop
in out
BLANK TTL DEL
OR NIM NIM
A
B
C
D
out
out
veto
out
coinc.
level
A
B
C
D
out
out
veto
out
coinc.
level
A
B
C
D
out
out
veto
out
coinc.
level
A
B
C
D
out
out
veto
out
coinc.
level